## Slide 1: Review of Analysis Steps for Structural MRI
Irene Vavasour
UBC MRI Research Centre Monthly Analysis Meeting
Nov 5, 2025

## Slide 2: Land Acknowledgement
With gratitude, I acknowledge that I work, live and thrive on the traditional, ancestral, unceded territory of the Coast Salish nations including the xʷməθkʷəy̓əm (Musqueam), Skwxwú7mesh (Squamish) and səl̓ilwətaɁɬ (Tsleil-Waututh) peoples.

## Slide 3: Structural MRI
3DT1
  segment tissues or regions of interest
  registration
PDw/T2w/FLAIR
  identify tissue abnormalities
Diffusion tensor imaging (DTI)
  measures movement of water
  sensitive to tissue microstructure include axons and myelin
Myelin water imaging (MWI)
  measures myelin

## Slide 4: Some pre-processing for 3DT1 images?
Main software used
  FSL: FMRIB Software Library
    known for a number of image processing tools
  ANTs: Advanced Normalization Tools
    known for registration
  FreeSurfer
    known for volume parcellation

## Slide 5: FSL
Great documentation on their wiki
https://fsl.fmrib.ox.ac.uk/fsl/docs/

## Slide 6: fsl_anat
Performs most pre-processing steps for 3DT1
The stages in this pipeline (in order) are:
  reorient the images to the standard (MNI) orientation [fslreorient2std]
  automatically crop the image [robustfov]
  bias-field correction (RF/B1-inhomogeneity-correction) [FAST]
  registration to standard space (linear and non-linear) [FLIRT and FNIRT]
  brain-extraction [FNIRT-based or BET]
  tissue-type segmentation [FAST]
  subcortical structure segmentation [FIRST]

## Slide 7: Reorient to standard orientation
usual orientation: axial with radiological convention
Sagittal Acquisition
MNI convention

## Slide 8: Crop off the neck
Remove lower part of image (neck) to focus on brain

## Slide 9: Bias Field Correction
Removes shading within image

## Slide 10: Registration to standard space (MNI)
Original
FLIRT
FNIRT
MNI

## Slide 11: Brain Extraction

## Slide 12: Tissue Segmentation
White Matter Grey Matter CSF

## Slide 13: Subcortical segmentation
Thalamus
Caudate
Putamen
Globus Pallidus

## Slide 14: ROI Analysis
Take ROIs defined in an MNI atlas (like JHU or Harvard-Oxford) and move them back into original image space
  use the inverse warp from the FNIRT step
Superior Longitudinal Fasciculus in MNI space
Superior Longitudinal Fasciculus in original space
Inverse Warp

## Slide 15: Other FSL tools
fsleyes
  used to view images
Lesion filling
  if given a lesion mask, can fill in the lesions with surrounding “normal” tissue values.
  can improve segmentation and registration
SIENA and SIENAX
  can estimate brain volume or change in brain volume
FSL-VBM
  VBM=voxel-based morphometry
  allows voxelwise comparisons of parameters or changes from normal

## Slide 16: ANTs
Most known for registration
https://stnava.github.io/ANTs/
Documentation isn’t as good as FSL
  might be best to use someone else’s code and modify for your project

## Slide 17: Segmentation
uses probability masks to help guide the segmentation and brain extraction
can also derive cortical thickness [antsCorticalThickness.sh]
3DT1
Brain Extracted
4-class segmentation
cortical thickness

## Slide 18: Registration
uses symmetric diffeomorphic transformation for best registration

## Slide 19: Atlas Creation
Can make an atlas from several images
  will create a template of the all the images registered together
  can then use to create z-score maps of individual participants compared to a healthy population
  can also use to register several timepoints together
HC Mean IET2
MS IET2
Z-scores
-
=
HC Standard
Deviation
0 5
e.g. Z-score Calculation
Note: MS is an individual participant whereas HC comes from all healthy controls
From Atlas

## Slide 20: FreeSurfer
Provides structural and functional analysis tools
https://surfer.nmr.mgh.harvard.edu/fswiki
Main Analysis Pipelines:
The Surface-based Stream
The Volume-based (Subcortical) Stream
Surface-based Statistical Analysis
Longitudinal Processing Stream

## Slide 21: Surface Based Stream
Brain Extracted Image
White Matter Mask
surface between white and gray (yellow line) and between gray and pia (red line)

## Slide 22: Volume Based Stream
Volume based labelling
Surface based labelling

## Slide 23: Volumetrics
using the command recon-all can extract volumetrics
  whole brain volume
    with or without CSF
    normalised to intra-cranial volume
  WM/GM volumes
  individual structures (e.g. thalamus, cerebellum)

## Slide 24: White Matter Hyperintensities or Lesions
gold standard is manual identification of lesions and then growing based on their intensity
automatic segmentation available but not as robust
  more recent versions use some sort of deep learning
    MIMoSA
    Lesion Segmentation Tool (LST-AI)
      We’ve currently decided this is the best for our MS lesion segmentation

## Slide 25: Diffusion Tensor Imaging
Measures movement of water within tissue

## Slide 26: DTI analysis
Using FSL’s dti pipeline
1. separate B0 image
2. if opposite phase B0 image available then do topup
3. brain extract the B0 image
4. eddy current correct
5. calculate DTI parameters
- FA, MD, AD, RD

## Slide 27: DTI analysis
Fractional Anisotropy
Mean Diffusivity
Axial Diffusivity
Radial Diffusivity

## Slide 28: More complicated modeling for DTI
Requiring multi-shell (multiple b-values)
NODDI: Neurite Orientation Dispersion and Density Imaging
DBSI: Diffusion basis spectrum imaging
DKI: Diffusion Kurtosis Imaging
Tractography
follows direction of principle diffusion to define axon

## Slide 29: Myelin Water Imaging
Separates different water pools based on T2 relaxation time
  myelin water (T2 < 40ms)
  intra/extracellular water (40ms < T2 < 200ms)
  CSF (T2 >1s)
Collect multiple echoes and fit to a multi-exponential decay
  software used is DECAES (https://jondeuce.github.io/DECAES.jl)
MET2 images
DECAES
echo 1 echo 48
…
MWF

## Slide 30: What to do with quantitative images?
You have your quantitative images, now what?
register you quantitative image to your 3DT1 or vice versa
  apply masks or ROIs to get mean values or make histograms
  extract your quantitative metric along a tract
make atlases and calculate z-scores for individual participants
do voxel based morphometry and compare images at a voxel level
do tract based spatial statistics (TBSS)
  define a tract skeleton (middle of tract) then compare skeleton values between participants

## Slide 31: Questions? Discussion?

## Slide 32: Next meeting
Wednesday Dec 3rd
3:15-4:15
Topic: DTI of neurofluids?