## Slide 1: Magnetisation Transfer
Irene Vavasour
Apr 3, 2024
UBC MRI Research Monthly Analysis Meeting

## Slide 2: What is Magnetisation Transfer?
MR visible protons
MR invisible protons
Wolff and Balaban, 1989
Water
Macromolecules
(e.g. proteins and lipids)

## Slide 3: What is Magnetisation Transfer?
MR visible protons
MR invisible protons

## Slide 4: What is Magnetisation Transfer?
MR visible protons
MR invisible protons

## Slide 5: What is Magnetisation Transfer?
MR visible protons
MR invisible protons

## Slide 6: Magnetisation Transfer Ratio

## Slide 7: Magnetisation Transfer Ratio
Calculated from 2 images
  MT off (no MT pulse)
  MT on (off resonance MT pulse or on resonance binomial MT pulse)
MTR =
MToff - MTon
MToff
x 100%

## Slide 8: Magnetisation Transfer Ratio
=
x 100%
-

## Slide 9: Use of MTR
Measure of “myelin” in white matter disorders
  MTR decreases in multiple sclerosis lesions - thought to be loss of myelin
Has shown a gradient decrease towards the ventricles
Measure of cartilage integrity
  decreases with damage
But MTR is affected by changes in water content
  so an MTR change in non-specific for pathology
Has low correlation with myelin water fraction

## Slide 10: MTR varies between scanners
Chart: Magnetisation Transfer Ratio
| 57.155110499999999 | 58.506896499999996 | 57.052975000000004 | 58.883330999999998 | 58.600200000000001 | 58.051492499999995
 | -1.2898 | -0.10414 | 1.0034 | -2.1684 | -0.025276 | 0.062295
 | -2.5566 | 0.972 | 0.81179 | 0.57388 | 1.3696 | -0.97073 | 0.22481 | 1.5921 | 2.2766 | 2.0702
 | -3.205 | -3.0106 | -3.8088 | -2.3532 | -0.16449 | 0.96202 | -0.2419 | 3.1807
 | 0.19319 | -2.5902 | -1.4536 | 0.45524 | -1.3009 | -0.22809 | -0.46506 | -0.038527 | 0.81458
 | 0.091695 | -0.30791 | -0.28871 | 0.61189 | -3.5312 | -2.004 | -0.17419 | 0.56086 | -0.76623 | 1.2393
 | -0.23148 | -0.23148
 | 3.1446 | 3.1446
 | -3.1446 | -3.1446
Philips
Siemens
GE

## Slide 11: Magnetisation Transfer Saturation

## Slide 12: MT Saturation (MTsat)
Compensates for inhomogeneities in RF and flip angles
Separates T1 relaxation component from MT effect
Original Paper

## Slide 13: MTsat
Requires acquisition of 3 images
  PD image (no MT), SPD
  PD image (with MT), SMT
  reference T1 image (no MT, but different TR and α), ST1
MTsat
S=signal intensity
α=flip angle
MTR MTsat
To calculate Mtsat I use sct_compute_mtsat from the Spinal Cord Toolbox.

## Slide 14: Use of MTsat
Originally proposed to be insensitive to inhomogeneities but looks like it still is
  therefore B0 map collection is suggested
Mainly used in multi-parametric mapping protocols
Large variability in values between vendors

## Slide 15: Inhomogeneous Magnetisation Transfer

## Slide 16: Inhomogeneous MT (ihMT)
Arises due to coupled protons in the hydrocarbon chain of lipids
Water protons interacting with methylene protons leads to an asymmetric MT effect
dipolar-coupled methylene = spin-1 system

## Slide 17: ihMT
off-resonance pulse on one side of water
couples the Zeeman magnetization to the dipolar order
thus making the bound pool line asymmetric and reducing the saturation efficiency
off-resonance pulse on both sides of water
decouples Zeeman magnetization and dipolar order leading to efficient saturation

## Slide 18: ihMTR1
more specific for lipids and hence myelin
requires 5 images
  No MT, M0
  MT pulse positive, M+
  MT pulse negative, M-
  Dual MT pulses (positive, negative), M+-
  Dual MT pulses (negative, positive), M-+
ihMTR =
M+ + M- - M+- - M-+
2M0
ihMTR MTR
1G Varma Magn Reson Med 2015; 73: 614–622.

## Slide 19: Use of ihMT
ihMTR is reduced in areas of demyelination
Shows more consistency with MWF than does MTR
  values vary for different brain regions just like MWF
Newest of the MT techniques so still under development
SR Morris MRM 2022

## Slide 20: Quantitative Magnetisation Transfer

## Slide 21: Quantitative MT (qMT)
uses multiple acquisitions at different off-resonance frequencies to model tissue using the Two-Pool Model
aqueous
non-aqueous
RA, RB: longitudinal relaxation rates
R: exchange rate
M0A, M0B: net magnetisation
shaded area is saturated protons
includes the myelin protons
Henkelman MRM 1993, Henkelman NMR in Biomed 2001

## Slide 22: qMT
Solve for
RA
RB
SA
SB
R
M0A/M0B
myelin measure
Sled and Pike 2000
Magnetisation Transfer Signal Equations
Can use software such as qMRLab
https://github.com/qMRLab

## Slide 23: qMT
t
Henkelman MRM 1993, Henkelman NMR in Biomed 2001
Z-spectrum
So MTR is a combination of true MT effect and direct saturation of the aqueous protons by the off-resonance pulse

## Slide 24: Use of qMT
used to calculate pool size ratio (or molecular proton fraction) which is attributed to myelin
can measure exchange rates between pools which might be a potential biomarker for tissue damage
also used to measure T1 and T2 relaxation times, so good for multi-parametric mapping
quicker versions are available with only a few offset frequencies

## Slide 25: Technique considerations
MTR | MTsat | ihMT | qMT
easy to collect data and calculate | slightly more complicated equation | easy to calculate | complicated equations to solve
requires only 2 images | requires 3 images | requires 5 images | requires multiple images so long acquisitions
affected by water content | affected by water content | more specific for lipids (can be modulated with T1D) | can model many parameters
variable between scanners | still requires B0 mapping | requires extra scanner programming | Not done at UBC
Specific Note for Philips data: make sure that you apply the scaling factor correctly when converting your data into NIfTI format. Some older versions of dcm2niix do not do it properly. (Intensities should be in the hundreds of thousands not the thousands.)

## Slide 26: Next Meeting
When: ?? Maybe Apr 24th or May 22nd
Where: CBH 3502 or zoom
Topic: TBA